## QFM ASSETS
OPERATIONAL TECHNOLOGY
SECURITY INFRASTRUCTURE (ASSET DESCRIPTION)
ASSET MODEL | EQUIPMENT ID | SPECIFICATION | ADDITIONAL DESCRIPTION
ACCESS CONTROLLED DEVICE
| ###-ACD-##-#### | Swinging Door | Door
|  | Gate | Gate
|  | Automatic Door | Automatic Door
|  | Roller Door | Roller Door
|  | Bollard | Bollard
|  | Boom Gate | Boom Gate
| ###-ACL-##-#### | Lift | Lift
| ###-LKR-##-#### | Locker | Locker
| ###-EKC-##-#### | Electronic Key Cabinet | Electronic Key Cabinet
INTELLIGENT FIELD CONTROLLER
| ###-IFC-##-#### | Controller | 6000
7000
9000
|  | HBUS I/O | HBUS HD I/O
INTRUSION DETECTION SYSTEM
| ###-IDS-##-#### | Remote Arming Terminal | Remote Arming Terminal
|  | Sounder | Sounder
|  | Strobe / Sounder | Strobe / Sounder
| ###-PIR-##-#### | Passive InfraRed Detector | Passive InfraRed Detector
CAMPUS ASSISTANCE POINT
| ###-IMS-##-#### | Intercom Master Station | Master Station
| ###-CAP-##-#### | Call Point | Call Point
DIGITAL VIDEO MANAGEMENT SYSTEM
| ###-NVR-##-#### | Network Video Recorder | Network Video Recorder
| ###-CAM-##-#### | Camera | Security Camera
Parking Camera
Audio Visual Camera
| ###-MON-##-#### | DVMS Display Monitor
OPERATIONAL TECHNOLOGY (ASSET DESCRIPTION)
ASSET MODEL | EQUIPMENT ID | SPECIFICATION | ADDITIONAL DESCRIPTION
GATEWAY
| ###-UMG-##-#### | Utility Metering Gateway | Power Meter
Water Meter
Thermal Meter
Gas Meter
| ###-SSG-##-#### | Smart Sensor Gateway | LoraWAN Gateway
Xsights Gateway
DIGITAL POWER
| ###-DPT-##-#### | Digital Power Transmitter | Digital Power Transmitter
| ###-DPR-##-#### | DIgital Power Reciever | DIgital Power Reciever
LIGHTING
| ###-SLD-##-#### | Smart Lighting Device | Philips
LoraWAN
DIGITAL SIGNAGE
| ###-DGS-##-#### | LED Screens | Parking
Wayfinding
Marketing
|  | Kioks | Gallagher
Wayfinding
EMERGENCY NOTIFICATION SYSTEM
| ###-ENS-##-#### | Amplifier | Amplifier
|  | Background Music Module | Background Music Module
|  | Speaker | Horn Speaker
|  | Speaker | Array Speaker
SENSORS
| ###-UML-##-#### | Utility Meter Logger | Power Logger
Water Logger
Thermal Logger
Gas Logger
| ###-AES-##-#### | Atmosphere Environment Sensor | CO2 Sensor
Halo Sensor
Thermal Sensor
| ###-VLS-##-#### | Voltage Sensor | LoraWAN
| ###-ATD-##-#### | Asset Tracking Device | Xsights
LoraWAN
| ###-PCD-##-#### | People Counting Device | Xsights
LoraWAN
| ###-DCS-##-#### | Dry Contact Sensor | LoraWAN
| ###-WMS-##-#### | Waste Management Sensor | Lorawan
Xsights
PARKING TRAFFIC MANAGEMENT
| ###-PAS-##-#### | Parking Availability Sensor | Park Aid
| ###-SDD-##-#### | Speed Detection Device
| ###-TAB-##-#### | Traffic Active Bump
| ###-EVS-##-#### | Electric Vehicle Charging Station | Schnieder
ICT INFRASTRUCTURE (ASSET DESCRIPTION)
ASSET MODEL | EQUIPMENT ID | SPECIFICATION | ADDITIONAL DESCRIPTION
CEC | ###-CEC-##-#### | Communications Equipment Cabinet
UNITERUPTED POWER SUPPLY | ###-UPS-##-#### | Uninterupeted Power Supply
ASSET HEIRARCHY

## Work Category
WORK CATEGORY | WORK SUB-CATEGORY
Security Infrastructure
Access Control
Intelligent Field Controller
Intrusion Detection Systems
Intercoms
DVMS Digital Video Manaagement System
Key Cabinets
Bollards Gates Barriers
Electronic Lockers
Operational Technology
Parking Systems
Smart Sensors
Space Utilisation
Utility Metering
Traffic Control Systems
ENCS Emergency Communications Notification System
Data Visualisation
Digital Power
PoE Lighting
Digital Signage
ICT Infrastructure
TO Telecommunication Outlets
Structured Cabling
Switch Gear
CP Consolidation Points
Fibre Optic Cable
Conduits
Pit and Pipe Works
CEC Communications Equipment Cabinets
UPS Uninterrupted Power Supplies
Media Convertors
PRIORITY | RESPONSE | Attendance | Completion
1 | 1 hr | 2 hrs | 4 hrs
2 | 2 hrs | 1 day | 1 day
3 | 1 day | 1 day | 3 days
4 | 1 day | 2 days | 7 days
5 | 3 days | 7 days | 28 days
WORK TYPE
Preventative Maintenance
Breakdown Maintenance
Asset Replacement
Statutory Requirement
New Asset
QFM WORK CREATION