## ProductDepartureApprovalForm
METER PRODUCT DEPARTURE APPROVAL FORM
Approved Meter/Logger Make | Approved Meter/Logger Model | Proposed Meter/Logger Make | Proposed Meter/Logger Model | Reason for Depature | Benefits of Departure | Comments | IM Approval Sign Off | OT Approval Sign Off

## Verification Pro Forma (Power)
|  |  | ELECTRICAL METER VERIFICATION RECORD | [6 empty] | Bxxx
Meter Asset Label
Location
Serving
Testing Date
Reference Meter
Make |  | Alternative Name & Wire Colour |  |  |  | Red | White | Blue | Neutral | TOTAL
Model |  | Name | Alt. Name | Wire Colour | kW
Calibration Dates |  | Red | L1 | Red | kVA
Meter Parameters |  | White | L2 | White | kVAR
VT Range |  | Blue | L3 | Blue | PF
Voltage Scale |  | Neutral | N | Black | Freq. Avg. (Hz)
CT Range |  | Earth | E | Green | Current (A)
Current Scale |  |  | Time | kWh | Volts L-N (V)
Neutral CT Range |  | Reading 1 |  |  |  | R-W | W-B | R-B
Neutral Current Range |  | Reading 2 |  |  | Volts L-L (V)
Power Meter
Make |  | Alternative Name & Wire Colour |  |  |  | Red | White | Blue | Neutral | TOTAL
Model |  | Name | Alt. Name | Wire Colour | kW
Calibration Dates | N/A | Red | L1 | Red | kVA
Meter Parameters |  | White | L2 | White | kVAR
VT Range |  | Blue | L3 | Blue | PF
Voltage Scale |  | Neutral | N | Black | Freq. Avg. (Hz)
CT Range |  | Earth | E | Green | Current (A)
Current Scale |  |  | Time | kWh | Volts L-N (V)
Neutral CT Range | N/A | Reading 1 |  |  |  | R-W | W-B | R-B
Neutral Current Range | N/A | Reading 2 |  |  | Volts L-L (V)
Comments:
Commissioning Technician |  |  |  | Signed |  |  |  |  | Date

## Verification Pro Forma(Thermal)
THERMAL METER VERIFICATION RECORD |  |  | Bxxx
Meter Asset Label
Location
Serving
Testing Date
Reference Meter
Make |  | Time | kWh
Model | Reading 1
Calibration Dates | Reading 2
Meter Parameters
Flow Range
Flow Scale
Supply °C Range
Supply °C Scale
Leaving °C Range
Leaving °C Range
Thermal Meter
Make |  | Time | kWh
Model | Reading 1
Calibration Dates | Reading 2
Meter Parameters
Flow Range
Flow Scale
Supply °C Range
Supply °C Scale
Leaving °C Range
Leaving °C Range
Comments:
Commissioning Technician
Signed
Date

## Validation Pro Forma (Power)
[8 empty] | ELECTRICAL METER VALIDATION RECORD | [5 empty] | Bxxx
Modbus ID | Meter Asset Label | Physical Location | Service Serving | Gateway IP Address | Gateway Location |  | Meter |  |  |  | Reading No.1 |  |  |  | Reading No.2 |  |  |  | Consumption |  |  | Result Pass/Fail | Comments | Sign Off
[6 empty] | In PME | Make | Model | CT Setting | Serial No. | Date | Time | Meter Reading (kWh) | Monitored PME (kWh) | Date | Time | Meter Reading (kWh) | Monitored PME (kWh) | Meter Reading (kWh) | Monitored PME (kWh) | Error |  |  |  | Sum Consumption | Diff | Diff %
[19 empty] | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
0

## Validation Pro Forma (Water)
[6 empty] | WATER METER VALIDATION RECORD |  |  |  |  | Bxxx
Modbus ID | Meter Asset Label | Physical Location | Service Serving | Gateway IP Address | Gateway Location | In PME | Meter | [5 empty] | Reading No.1 |  |  |  | Reading No.2 |  |  |  | Consumption (m3) |  |  | Result Pass/Fail | Comments | Signoff (initials)
[7 empty] | Size | Make | Model | Meter Serial | Cyble Serial | L/Pulse | Date | Time | Meter Reading | PME Reading | Date | Time | Meter Reading | PME Reading | Meter Reading | PME Reading | Error
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
Note on V2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Consumption has historically been logged in L in the software - so update of historical data may be required. If not, calculations for error need to be adjusted to allow for field reading in m3 and software readings in L.

## Validation Pro Forma (Gas)
[6 empty] | GAS METER VALIDATION RECORD |  |  |  |  | Bxxx
Modbus ID | Meter Asset Label | Physical Location | Service Serving | Gateway IP Address | Gateway Location | In PME | Meter | [5 empty] | Reading No.1 |  |  |  | Reading No.2 |  |  |  | Consumption (m3) |  |  | Result Pass/Fail | Comments | Signoff (initials)
[7 empty] | Size | Make | Model | Meter Serial | Cyble Serial | m3/Pulse | Date | Time | Meter Reading | PME Reading | Date | Time | Meter Reading | PME Reading | Meter Reading | PME Reading | Error
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0
[21 empty] | 0 | 0 | 0

## Validation Pro Forma (Thermal)
[6 empty] | THERMAL METER VALIDATION RECORD |  |  |  |  | Bxxx
Modbus ID | Meter Asset Label | Physical Location | Service Serving | Gateway IP Address | Gateway Location | In PME | Meter |  |  |  | Reading No.1 |  |  |  | Reading No.2 |  |  |  | Consumption (kWh) |  |  | Result Pass/Fail | Comments | Signoff (initials)
[7 empty] | Size | Make | Model | Meter Serial | Date | Time | Meter Reading | PME Reading | Date | Time | Meter Reading | PME Reading | Meter Reading | PME Reading | Error
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0
[19 empty] | 0 | 0 | 0